| LOYA PEB Enquiry Form |  |  |
| --- | --- | --- |
| Contact Person Name: | Mr. |  |
| Company Name: | M/s. |  |
| Address : |  |  |
| Mobile/Landline: |  |  |
| Email: |  |  |
| Website: | www. |  |
| Site Address: |  |  |
| Purpose Of Building: | INDUSTRY |  |
| Type Of Building: |  |  |
| Clear Span / SBSR | Multi Span/DBSR | Multi Span /TBSR |
| Multi Span / FBSR | Multi Gable / DBDR | Learn To / LTR |
| Building Dimensions: |  |  |
| Span/Width | ________ | Meters (O/o of steel line) |
| Length | _ ______ | Meters (O/o of steel line) |
| Clear Height | ________ | Meters (Truss Bottom Ht) |
| Steel Column(Intermediate bay spacing) | ECONOMICAL | Meters |
| Steel Column( End bay) | ECONOMICAL | Meters |
| Brick Wall Height Total | 3.00 | Meters |
| Note: |  |  |
| End Wall Type: | EXPANDABLE / NON EXPANDABLE |  |
| Cladding Systems ( Roofing & Side Cladding) : |  |  |
| Roof Sheeting Material: | BARE GALVALUMELOYA PROFILE 1000 |  |
| Thickness : | 0.5mm |  |
| Color: | BARE GALVALUME |  |
| Side Cladding Material: | PPGILOYA PROFILE 1000 |  |
| Thickness: | 0.5mm TCT |  |
| Color: | RAL 9002-GREY WHITE IN COMBINATION WITH LIGHT BLUE, LEAF GREEN, RASEDA GREEN, TOMATO RED, TAURUS BLUE, TERRACOTA |  |
| Roof & Wall Sheeting Accessories: | RAL 9002-GREY WHITE – GUTTER, D/T PIPE ETC. |  |
| Skylight & Wall light : | Yes/ No |  |
| Translucent 2 mm | 1) FRP ______2) Polycarbonate_______ |  |
| In roof | ________(ONE IN EACH BAY) |  |
| In cladding | _____ |  |
| Insulation : | Yes / No |  |
| Roof | SQMT Type Bubble Film THICK 4 mm |  |
| Cladding | SQMT Type Bubble Film THICK 4 mm |  |
| Roof Ventilation System : | Yes / No |  |
| Turbo Roof Ventilator no. =_cfm / 10,000_appro. | ________ (One in Each Bay)_________ |  |
| Air Change Rate | _12 per hour_ |  |
| Ventilation rate Q | Cfm x 12 / 60_ |  |
| @ Velocity of Wind | 8 mph |  |
| Exhaust Capacity 600 dia | 2076 cfm |  |
| Mezzanine : | Yes / No |  |
| If Yes, Live Load | __________________KN/SQM |  |
|  | Area ______________SQM |  |
| Finishing Paint to Main Frame : | Yes |  |
| Type of Paint: | Berger Enamel Paint – Light Grey in color. |  |
| Number of Coats: | Two Coats on site |  |
| Crane & Hoist : | Yes / No |  |
| Crane Type : | Single Girder / Double Girder |  |
| Crane Capacity: | M Ton |  |
| Crane Bracket Top Height | ______Meters from floor level |  |
| Canopy : | Yes |  |
| Size: | 1.8 mt cantilever X bay width X NO. |  |
| Height: | AT HEIGHT____MT FROM FINISHED FLOOR LEVEL |  |
| Location Of Canopy: | Over Framed Opening |  |
| Road Facilities : |  |  |
| Whether Suitable For Trailer/Truck Moving: | Yes |  |
| Goods Stocking Places Available Details : | Yes |  |
| Rolling Shutters / Sliding Door/ Open Provision In Any: |  |  |
| (Supplying of Rolling Shutters, Windows and Doors not in our scope) |  |  |
| (If Height of Framed Opening is More Than Brick Wall Height ) |  |  |
| Nos |  |  |
| Size | mtr |  |
| Location |  |  |
| Scope Of Work (You Require Us To Quote For) : Painting: ________Erection :______ |  |  |
| Soil Bearing Capacity : _______________ Soil Strata : __Hard_______________ |  |  |
| Enquiry referred By : |  |  |